Memorandum

	
	
	

	To:
	· (
	Tonnia Plail, Planner

	From:
	· (
	Vicki Carney EMO

	Branch:
	· (
	Development Assessment

	Date:
	· (
	20 December 2005

	File:
	· (
	482755(P1)

	Subject:
	· (
	Acoustic Conditions for 962-966 Kingston Road


. Bartley Burns stated that the  details of the type of mechanical plant to be used was not yet available as it had not been purchased and therefore the noise emissions from this type of equipment could not be assessed currently.

NOISE

1. 
The proposed activity must be carried out by such reasonable and practicable 


means necessary to prevent the emission or likelihood of emission of noise that 

constitutes an intrusive noise.
2.    Any external plant, both rooftop and ground level Any refrigeration and/or air-


conditioning units and other mechanical plant and equipment associated with 


future uses must be low noise emitting, located and acoustically treated and/or 

shielded to achieve the 35dBLA 90 and 38 dB LA10 limit to surrounding noise sensitive 

receptors and 40 dB LA90 43dBLA10  at commercial uses.
3.   Emissions from vehicles, patrons voices, music amplified or other and all other uses 

on the property must not exceed 35dB LA90 and 38 dB LA10 at the noise  sensitive 


receptors and 40 dB LA90 and 43dB LA10  at commercial premises.
4.  In the event of any validated noise complaints an Environmental Management 

Plan (EMP) shall be prepared and submitted to Council for approval within one 

month of the applicant being formally notified of the complaint. 
4.1. The EMP will 
 address sections 330, 331 and 332 of the Environmental Protection 

Act 1997.  The EMP shall include, but is not restricted to;
4.1.1. Objectives of the plan.

4.1.2. Measures to be implemented to achieve the objective.

4.1.3. Appropriate performance indicators at intervals of less than 6 months.

4.1.4. Provisions for monitoring and compliance recording.
4.1.5. The EMP shall show 
compliance with and implement the 
Noise Emission Level Objectives quantified in these conditions. 


4.2
The  Environmental Management Plan must include an acoustic report  with 


measurements as per the QLD Noise Measurement Manual (EPA 2000)  submitted 

to council that includes measurements of one third octave band spectra to record 


emissions of tonal or impulsive noise from the development including external fixed 

and mobile mechanical plant. 


4.3
Once approved, the use is to operate in accordance with the approved EMP.
	
	

	
	

	
	

	
	


482755(P1);Doc # 3228656

CarneyV;CarneyV


